## Sheet1
sample | replicate | dye | biochar | pyrolysis | temperature | residence_time | date_prep | date_meas | Ci_mgL | mass_BC_g | Vw_g | absorbance | Cw_mgL | Cs_mgkg | Kd_Lkg | log_Kd | cuvette | sample_type | filtered | comment
CWC-BC-600 | 1 | MB | CWC | biogreen | 600 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.099 | 50.003 | 1.621 | 8.728 | 20844.4695 | 2388.2434 | 3.3781 | plastic | sample | no | good
CWC-BC-600 | 2 | MB | CWC | biogreen | 600 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.1 | 50.002 | 1.667 | 8.9756 | 20512.1859 | 2285.3204 | 3.3589 | plastic | sample | no | good
CWC-BC-600 | 3 | MB | CWC | biogreen | 600 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.101 | 49.997 | 1.594 | 8.5826 | 20503.6761 | 2388.9891 | 3.3782 | plastic | sample | no | good
CWC-BC-600 | 1 | RB | CWC | biogreen | 600 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.1 | 50.085 | 1.901 | 46.5973 | 1701.344 | 36.5116 | 1.5624 | glass | sample | yes | good
CWC-BC-600 | 2 | RB | CWC | biogreen | 600 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.102 | 49.975 | 1.859 | 45.5678 | 2172.6431 | 47.6793 | 1.6783 | glass | sample | yes | good
CWC-BC-600 | 3 | RB | CWC | biogreen | 600 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.099 | 50.001 | 1.877 | 46.009 | 2015.6444 | 43.8098 | 1.6416 | glass | sample | yes | good
CWC-BC-700 | 1 | MB | CWC | biogreen | 700 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.103 | 50 | 1.171 | 6.305 | 21211.1576 | 3364.1723 | 3.5269 | plastic | sample | no | good
CWC-BC-700 | 2 | MB | CWC | biogreen | 700 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.103 | 50.007 | 1.18 | 6.3535 | 21187.634 | 3334.8108 | 3.5231 | plastic | sample | no | good
CWC-BC-700 | 3 | MB | CWC | biogreen | 700 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.101 | 50.016 | 1.226 | 6.6012 | 21484.5783 | 3254.6711 | 3.5125 | plastic | sample | no | good
CWC-BC-700 | 1 | RB | CWC | biogreen | 700 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.104 | 50.007 | 1.813 | 44.4403 | 2672.9538 | 60.1471 | 1.7792 | glass | sample | yes | good
CWC-BC-700 | 2 | RB | CWC | biogreen | 700 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.102 | 50.032 | 1.811 | 44.3912 | 2749.3961 | 61.9356 | 1.7919 | glass | sample | yes | good
CWC-BC-700 | 3 | RB | CWC | biogreen | 700 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.102 | 50.048 | 1.812 | 44.4157 | 2737.3804 | 61.6309 | 1.7898 | glass | sample | yes | good
CWC-BC-750 | 1 | MB | CWC | biogreen | 750 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.101 | 50.02 | 0.163 | 0.87764 | 24317.9996 | 27708.3709 | 4.4426 | plastic | sample | no | good
CWC-BC-750 | 2 | MB | CWC | biogreen | 750 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.103 | 50.023 | 0.107 | 0.57612 | 23992.1747 | 41644.3979 | 4.6196 | plastic | sample | no | good
CWC-BC-750 | 3 | MB | CWC | biogreen | 750 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.103 | 50.018 | 0.077 | 0.41459 | 24070.5868 | 58058.6193 | 4.7639 | plastic | sample | no | good
CWC-BC-750 | 1 | RB | CWC | biogreen | 750 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.101 | 50.005 | 1.615 | 39.5869 | 5155.0099 | 130.2202 | 2.1147 | glass | sample | yes | good
CWC-BC-750 | 2 | RB | CWC | biogreen | 750 | 20 | 2022-09-26 | 2022-10-05 | 50 | 0.101 | 49.974 | 1.626 | 39.8565 | 5021.5287 | 125.9902 | 2.1003 | glass | sample | yes | good
CWC-BC-750 | 3 | RB | CWC | biogreen | 750 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.098 | 50.011 | 1.615 | 39.5869 | 5312.8163 | 134.2065 | 2.1278 | glass | sample | yes | good
DMFR-BC-800 | 1 | MB | DMFR | biogreen | 800 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.098 | 50.023 | 0.007 | 0.03769 | 25490.9744 | 676330.7722 | 5.8302 | plastic | sample | no | good
DMFR-BC-800 | 2 | MB | DMFR | biogreen | 800 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.1 | 50.019 | 0.012 | 0.064612 | 24967.6942 | 386427.4248 | 5.5871 | plastic | sample | no | good
DMFR-BC-800 | 3 | MB | DMFR | biogreen | 800 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.103 | 50.013 | 0.01 | 0.053843 | 24245.7073 | 450303.7959 | 5.6535 | plastic | sample | no | good
DMFR-BC-800 | 1 | RB | DMFR | biogreen | 800 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.099 | 50.015 | 1.791 | 43.901 | 3080.3071 | 70.1649 | 1.8461 | glass | sample | yes | good
DMFR-BC-800 | 2 | RB | DMFR | biogreen | 800 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.098 | 50.005 | 1.801 | 44.1461 | 2986.6776 | 67.6544 | 1.8303 | glass | sample | yes | good
DMFR-BC-800 | 3 | RB | DMFR | biogreen | 800 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.099 | 49.999 | 1.786 | 43.7784 | 3142.2061 | 71.7752 | 1.856 | glass | sample | yes | good
DSL-BC-600 | 1 | MB | DSL | biogreen | 600 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.102 | 50 | 0.011 | 0.059227 | 24480.7709 | 413335.9267 | 5.6163 | plastic | sample | no | good
DSL-BC-600 | 2 | MB | DSL | biogreen | 600 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.1 | 50.024 | 0.017 | 0.091533 | 24954.2334 | 272625.241 | 5.4356 | plastic | sample | no | good
DSL-BC-600 | 3 | MB | DSL | biogreen | 600 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.1 | 50.013 | 0.031 | 0.16691 | 24916.5433 | 149278.358 | 5.174 | plastic | sample | no | good
DSL-BC-600 | 1 | RB | DSL | biogreen | 600 | 20 | 2022-09-26 | 2022-10-05 | 50 | 0.1 | 49.998 | 0.89 | 21.8157 | 14092.16 | 645.9647 | 2.8102 | glass | sample | yes | good
DSL-BC-600 | 1 | RB | DSL | biogreen | 600 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.1 | 49.998 | 0.89 | 21.8157 | 14092.16 | 645.9647 | 2.8102 | glass | sample | yes | good
DSL-BC-600 | 2 | RB | DSL | biogreen | 600 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.099 | 50.009 | 0.91 | 22.3059 | 13986.9091 | 627.0492 | 2.7973 | glass | sample | yes | good
DSL-BC-600 | 3 | RB | DSL | biogreen | 600 | 20 | 2022-09-26 | 2022-10-05 | 50 | 0.098 | 50.024 | 0.859 | 21.0558 | 14767.4449 | 701.3478 | 2.8459 | glass | sample | yes | good
DSL-BC-600 | 3 | RB | DSL | biogreen | 600 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.098 | 50.024 | 0.859 | 21.0558 | 14767.4449 | 701.3478 | 2.8459 | glass | sample | yes | good
DSL-BC-700 | 1 | MB | DSL | biogreen | 700 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.101 | 50.004 | 0.009 | 0.048459 | 24728.4858 | 510300.2308 | 5.7078 | plastic | sample | no | good
DSL-BC-700 | 2 | MB | DSL | biogreen | 700 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.099 | 50.003 | 0.003 | 0.016153 | 25244.3672 | 1562838.08 | 6.1939 | plastic | sample | no | good
DSL-BC-700 | 3 | MB | DSL | biogreen | 700 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.101 | 50.019 | 0.036 | 0.19383 | 24656.5174 | 127203.7706 | 5.1045 | plastic | sample | no | good
DSL-BC-700 | 1 | RB | DSL | biogreen | 700 | 20 | 2022-09-26 | 2022-10-05 | 50 | 0.101 | 50.042 | 0.11 | 2.6963 | 23417.6634 | 8685.0461 | 3.9388 | glass | sample | yes | good
DSL-BC-700 | 1 | RB | DSL | biogreen | 700 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.101 | 50.042 | 0.11 | 2.6963 | 23417.6634 | 8685.0461 | 3.9388 | glass | sample | yes | good
DSL-BC-700 | 2 | RB | DSL | biogreen | 700 | 20 | 2022-09-26 | 2022-10-05 | 50 | 0.103 | 50.035 | 0.07 | 1.7158 | 23438.9126 | 13660.3137 | 4.1355 | glass | sample | yes | good
DSL-BC-700 | 2 | RB | DSL | biogreen | 700 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.103 | 50.035 | 0.07 | 1.7158 | 23438.9126 | 13660.3137 | 4.1355 | glass | sample | yes | good
DSL-BC-700 | 3 | RB | DSL | biogreen | 700 | 20 | 2022-09-26 | 2022-10-05 | 50 | 0.103 | 50.021 | 0.044 | 1.0785 | 23748.2874 | 22019.1663 | 4.3428 | glass | sample | yes | good
DSL-BC-700 | 3 | RB | DSL | biogreen | 700 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.103 | 50.021 | 0.044 | 1.0785 | 23748.2874 | 22019.1663 | 4.3428 | glass | sample | yes | good
GW-BC-500 | 1 | MB | GW | biogreen | 500 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.103 | 50.012 | 1.183 | 6.3696 | 21179.7928 | 3325.123 | 3.5218 | plastic | sample | no | good
GW-BC-500 | 2 | MB | GW | biogreen | 500 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.103 | 50.013 | 1.185 | 6.3804 | 21174.5653 | 3318.6917 | 3.521 | plastic | sample | no | good
GW-BC-500 | 3 | MB | GW | biogreen | 500 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.1 | 50.011 | 1.091 | 5.8743 | 22062.8644 | 3755.847 | 3.5747 | plastic | sample | no | good
GW-BC-500 | 1 | RB | GW | biogreen | 500 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.101 | 49.997 | 0.79 | 19.3645 | 15166.099 | 783.1916 | 2.8939 | glass | sample | yes | good
GW-BC-500 | 2 | RB | GW | biogreen | 500 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.102 | 50.028 | 0.819 | 20.0753 | 14668.9569 | 730.6958 | 2.8637 | glass | sample | yes | good
GW-BC-500 | 3 | RB | GW | biogreen | 500 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.1 | 50.027 | 0.756 | 18.5311 | 15734.464 | 849.0855 | 2.929 | glass | sample | yes | good
GW-BC-600 | 1 | MB | GW | biogreen | 600 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.099 | 50.001 | 0.829 | 4.4636 | 22998.1895 | 5152.4035 | 3.712 | plastic | sample | no | good
GW-BC-600 | 2 | MB | GW | biogreen | 600 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.099 | 49.992 | 0.911 | 4.9051 | 22775.2034 | 4643.1706 | 3.6668 | plastic | sample | no | good
GW-BC-600 | 3 | MB | GW | biogreen | 600 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.101 | 50.004 | 0.82 | 4.4151 | 22566.7693 | 5111.2402 | 3.7085 | plastic | sample | no | good
GW-BC-600 | 1 | RB | GW | biogreen | 600 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.1 | 50 | 1.785 | 43.7539 | 3123.04 | 71.3774 | 1.8536 | glass | sample | yes | good
GW-BC-600 | 2 | RB | GW | biogreen | 600 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.102 | 50.011 | 1.819 | 44.5873 | 2653.2706 | 59.5073 | 1.7746 | glass | sample | yes | good
GW-BC-600 | 3 | RB | GW | biogreen | 600 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.102 | 50.014 | 1.808 | 44.3177 | 2785.4431 | 62.8517 | 1.7983 | glass | sample | yes | good
GW-BC-800 | 1 | MB | GW | biogreen | 800 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.1 | 50.004 | 0.062 | 0.33383 | 24833.0867 | 74389.179 | 4.8715 | plastic | sample | no | good
GW-BC-800 | 2 | MB | GW | biogreen | 800 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.102 | 50.027 | 0.03 | 0.16153 | 24430.623 | 151246.0489 | 5.1797 | plastic | sample | no | good
GW-BC-800 | 3 | MB | GW | biogreen | 800 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.099 | 49.989 | 0.208 | 1.1199 | 24686.9018 | 22043.1677 | 4.3433 | plastic | sample | no | good
GW-BC-800 | 1 | RB | GW | biogreen | 800 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.098 | 49.985 | 1.322 | 32.4049 | 8977.1102 | 277.0297 | 2.4425 | glass | sample | yes | good
GW-BC-800 | 2 | RB | GW | biogreen | 800 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.101 | 50.01 | 1.337 | 32.7725 | 8528.4436 | 260.2314 | 2.4154 | glass | sample | yes | good
GW-BC-800 | 3 | RB | GW | biogreen | 800 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.1 | 50.008 | 1.311 | 32.1352 | 8932.384 | 277.9623 | 2.444 | glass | sample | yes | good
MS-BC-500 | 1 | MB | MS | biogreen | 500 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.101 | 50.025 | 0.031 | 0.16691 | 24669.8449 | 147800.3544 | 5.1697 | plastic | sample | no | good
MS-BC-500 | 2 | MB | MS | biogreen | 500 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.102 | 50.003 | 0.03 | 0.16153 | 24430.623 | 151246.0489 | 5.1797 | plastic | sample | no | good
MS-BC-500 | 3 | MB | MS | biogreen | 500 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.102 | 50.021 | 0.033 | 0.17768 | 24422.705 | 137451.8448 | 5.1382 | plastic | sample | no | good
MS-BC-500 | 1 | RB | MS | biogreen | 500 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.1 | 50.023 | 1.013 | 24.8307 | 12584.672 | 506.82 | 2.7049 | glass | sample | yes | good
MS-BC-500 | 2 | RB | MS | biogreen | 500 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.102 | 49.991 | 1.159 | 28.4094 | 10583.6235 | 372.5394 | 2.5712 | glass | sample | yes | good
MS-BC-500 | 3 | RB | MS | biogreen | 500 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.099 | 49.99 | 1.147 | 28.1153 | 11052.897 | 393.128 | 2.5945 | glass | sample | yes | good
MS-BC-600 | 1 | MB | MS | biogreen | 600 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.099 | 49.993 | 0.004 | 0.021537 | 25241.6479 | 1172002.2974 | 6.0689 | plastic | sample | no | good
MS-BC-600 | 2 | MB | MS | biogreen | 600 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.099 | 50.032 | 0.003 | 0.016153 | 25244.3672 | 1562838.08 | 6.1939 | plastic | sample | no | good
MS-BC-600 | 3 | MB | MS | biogreen | 600 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.1 | 49.994 | 0.049 | 0.26383 | 24868.0847 | 94257.7367 | 4.9743 | plastic | sample | no | good
MS-BC-600 | 1 | RB | MS | biogreen | 600 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.104 | 50.026 | 0.389 | 9.5352 | 19454.2462 | 2040.2625 | 3.3097 | glass | sample | yes | good
MS-BC-600 | 2 | RB | MS | biogreen | 600 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.102 | 50.018 | 0.839 | 20.5656 | 14428.6431 | 701.5923 | 2.8461 | glass | sample | yes | good
MS-BC-600 | 3 | RB | MS | biogreen | 600 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.102 | 50.009 | 0.741 | 18.1634 | 15606.1804 | 859.2107 | 2.9341 | glass | sample | yes | good
MS-BC-700 | 1 | MB | MS | biogreen | 700 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.1 | 50.018 | 0.01 | 0.053843 | 24973.0785 | 463812.9098 | 5.6663 | plastic | sample | no | good
MS-BC-700 | 2 | MB | MS | biogreen | 700 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.1 | 49.988 | 0.015 | 0.080764 | 24959.6178 | 309041.9398 | 5.49 | plastic | sample | no | good
MS-BC-700 | 3 | MB | MS | biogreen | 700 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.1 | 50.005 | 0.011 | 0.059227 | 24970.3863 | 421602.6452 | 5.6249 | plastic | sample | no | good
MS-BC-700 | 1 | RB | MS | biogreen | 700 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.101 | 49.996 | 0.562 | 13.7757 | 17932.8 | 1301.7664 | 3.1145 | glass | sample | yes | good
MS-BC-700 | 2 | RB | MS | biogreen | 700 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.101 | 49.989 | 0.478 | 11.7167 | 18952.1109 | 1617.5248 | 3.2089 | glass | sample | yes | good
MS-BC-700 | 3 | RB | MS | biogreen | 700 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.098 | 49.993 | 0.478 | 11.7167 | 19532.2776 | 1667.0409 | 3.2219 | glass | sample | yes | good
MS-BC-800 | 1 | MB | MS | biogreen | 800 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.099 | 50.013 | 0.012 | 0.064612 | 25219.8931 | 390330.7321 | 5.5914 | plastic | sample | no | good
MS-BC-800 | 2 | MB | MS | biogreen | 800 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.102 | 50.019 | 0.002 | 0.010769 | 24504.5252 | 2275553.4792 | 6.3571 | plastic | sample | no | good
MS-BC-800 | 3 | MB | MS | biogreen | 800 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.099 | 50.021 | 0.003 | 0.016153 | 25244.3672 | 1562838.08 | 6.1939 | plastic | sample | no | good
MS-BC-800 | 1 | RB | MS | biogreen | 800 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.099 | 50.011 | 0.216 | 5.2946 | 22578.4889 | 4264.4436 | 3.6299 | glass | sample | yes | good
MS-BC-800 | 2 | RB | MS | biogreen | 800 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.098 | 50.006 | 0 | 0 | 25510.2041 | 25510 | 4.4067 | glass | sample | yes | good
MS-BC-800 | 3 | RB | MS | biogreen | 800 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.099 | 49.979 | 0.218 | 5.3436 | 22553.7293 | 4220.6868 | 3.6254 | glass | sample | yes | good
ULS-BC-600-40 | 1 | MB | ULS | biogreen | 600 | 40 | 2022-10-17 | 2022-10-25 | 10 | 0.098 | 49.997 | 0.021 | 0.11307 | 25452.5152 | 225103.4547 | 5.3524 | plastic | sample | no | good
ULS-BC-600-40 | 2 | MB | ULS | biogreen | 600 | 40 | 2022-10-17 | 2022-10-25 | 10 | 0.102 | 49.991 | 0.018 | 0.096917 | 24462.2954 | 252403.5456 | 5.4021 | plastic | sample | no | good
ULS-BC-600-40 | 3 | MB | ULS | biogreen | 600 | 40 | 2022-10-17 | 2022-10-25 | 10 | 0.1 | 50.02 | 0.021 | 0.11307 | 24943.4649 | 220601.3856 | 5.3436 | plastic | sample | no | good
ULS-BC-600-40 | 1 | RB | ULS | biogreen | 600 | 40 | 2022-09-27 | 2022-10-05 | 50 | 0.1 | 50.018 | 0.455 | 11.153 | 19423.52 | 1741.5574 | 3.2409 | glass | sample | yes | good
ULS-BC-600-40 | 2 | RB | ULS | biogreen | 600 | 40 | 2022-09-27 | 2022-10-05 | 50 | 0.099 | 50.008 | 0.454 | 11.1284 | 19632.097 | 1764.1361 | 3.2465 | glass | sample | yes | good
ULS-BC-600-40 | 3 | RB | ULS | biogreen | 600 | 40 | 2022-09-27 | 2022-10-05 | 50 | 0.098 | 50.006 | 0.487 | 11.9373 | 19419.7224 | 1626.8043 | 3.2113 | glass | sample | yes | good
ULS-BC-700-40 | 1 | MB | ULS | biogreen | 700 | 40 | 2022-10-17 | 2022-10-25 | 10 | 0.099 | 50.009 | 0.001 | 0.0053843 | 25249.8059 | 4689524.341 | 6.6711 | plastic | sample | no | good
ULS-BC-700-40 | 2 | MB | ULS | biogreen | 700 | 40 | 2022-10-17 | 2022-10-25 | 10 | 0.099 | 50.008 | 0.004 | 0.021537 | 25241.6479 | 1172002.2974 | 6.0689 | plastic | sample | no | good
ULS-BC-700-40 | 3 | MB | ULS | biogreen | 700 | 40 | 2022-10-17 | 2022-10-25 | 10 | 0.103 | 50.002 | 0.002 | 0.010769 | 24266.6172 | 2253460.727 | 6.3528 | plastic | sample | no | good
ULS-BC-700-40 | 1 | RB | ULS | biogreen | 700 | 40 | 2022-09-27 | 2022-10-05 | 50 | 0.101 | 49.997 | 0.006 | 0.14707 | 24679.6673 | 167806.7023 | 5.2248 | glass | sample | yes | good
ULS-BC-700-40 | 2 | RB | ULS | biogreen | 700 | 40 | 2022-09-27 | 2022-10-05 | 50 | 0.103 | 50.024 | 0.096 | 2.3532 | 23129.5379 | 9829.1729 | 3.9925 | glass | sample | yes | good
ULS-BC-700-40 | 3 | RB | ULS | biogreen | 700 | 40 | 2022-09-27 | 2022-10-05 | 50 | 0.103 | 50.008 | 0.006 | 0.14707 | 24200.4505 | 164548.3198 | 5.2163 | glass | sample | yes | good
ULS-BC-800-40 | 1 | MB | ULS | biogreen | 800 | 40 | 2022-10-17 | 2022-10-25 | 10 | 0.101 | 50.008 | 0.004 | 0.021537 | 24741.8133 | 1148794.3311 | 6.0602 | plastic | sample | no | good
ULS-BC-800-40 | 2 | MB | ULS | biogreen | 800 | 40 | 2022-10-17 | 2022-10-25 | 10 | 0.101 | 49.997 | 0.014 | 0.07538 | 24715.1583 | 327873.3449 | 5.5157 | plastic | sample | no | good
ULS-BC-800-40 | 3 | MB | ULS | biogreen | 800 | 40 | 2022-10-17 | 2022-10-25 | 10 | 0.102 | 49.992 | 0.005 | 0.026921 | 24496.6071 | 909927.274 | 5.959 | plastic | sample | no | good
ULS-BC-800-40 | 1 | RB | ULS | biogreen | 800 | 40 | 2022-09-27 | 2022-10-05 | 50 | 0.098 | 49.994 | 0.013 | 0.31866 | 25347.6245 | 79545.4173 | 4.9006 | glass | sample | yes | good
ULS-BC-800-40 | 2 | RB | ULS | biogreen | 800 | 40 | 2022-09-27 | 2022-10-05 | 50 | 0.099 | 50.01 | 0.012 | 0.29414 | 25103.9677 | 85345.8431 | 4.9312 | glass | sample | yes | good
ULS-BC-800-40 | 3 | RB | ULS | biogreen | 800 | 40 | 2022-09-27 | 2022-10-05 | 50 | 0.101 | 50.018 | 0.002 | 0.049024 | 24728.2059 | 504410.206 | 5.7028 | glass | sample | yes | good
VS-BC-600 | 1 | MB | VS | biogreen | 600 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.1 | 49.997 | 0.068 | 0.36613 | 24816.9338 | 67781.3103 | 4.8311 | plastic | sample | no | good
VS-BC-600 | 2 | MB | VS | biogreen | 600 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.1 | 50.006 | 0.01 | 0.053843 | 24973.0785 | 463812.9098 | 5.6663 | plastic | sample | no | good
VS-BC-600 | 3 | MB | VS | biogreen | 600 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.099 | 50.02 | 0.01 | 0.053843 | 25225.3318 | 468497.8886 | 5.6707 | plastic | sample | no | good
VS-BC-600 | 1 | RB | VS | biogreen | 600 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.103 | 49.992 | 0.429 | 10.5156 | 19167.1612 | 1822.7275 | 3.2607 | glass | sample | yes | good
VS-BC-600 | 2 | RB | VS | biogreen | 600 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.101 | 50.019 | 0.416 | 10.197 | 19704.4594 | 1932.3796 | 3.2861 | glass | sample | yes | good
VS-BC-600 | 3 | RB | VS | biogreen | 600 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.101 | 49.991 | 0.559 | 13.7022 | 17969.204 | 1311.4094 | 3.1177 | glass | sample | yes | good
WT-BC-600 | 1 | MB | WT | biogreen | 600 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.101 | 50.01 | 1.431 | 7.7049 | 20938.1518 | 2717.4994 | 3.4342 | plastic | sample | no | good
WT-BC-600 | 2 | MB | WT | biogreen | 600 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.102 | 50.02 | 1.413 | 7.608 | 20780.3844 | 2731.3802 | 3.4364 | plastic | sample | no | good
WT-BC-600 | 3 | MB | WT | biogreen | 600 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.1 | 50.012 | 1.503 | 8.0926 | 20953.6985 | 2589.2409 | 3.4132 | plastic | sample | no | good
WT-BC-600 | 1 | RB | WT | biogreen | 600 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.1 | 50 | 1.868 | 45.7884 | 2105.792 | 45.9896 | 1.6627 | glass | sample | yes | good
WT-BC-600 | 2 | RB | WT | biogreen | 600 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.102 | 50.021 | 1.888 | 46.2787 | 1824.1882 | 39.4175 | 1.5957 | glass | sample | yes | good
WT-BC-600 | 3 | RB | WT | biogreen | 600 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.102 | 49.99 | 1.875 | 45.96 | 1980.3922 | 43.0895 | 1.6344 | glass | sample | yes | good
WT-BC-700 | 1 | MB | WT | biogreen | 700 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.101 | 50.001 | 0.362 | 1.9491 | 23787.566 | 12204.2807 | 4.0865 | plastic | sample | no | good
WT-BC-700 | 2 | MB | WT | biogreen | 700 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.102 | 49.984 | 0.252 | 1.3568 | 23844.6845 | 17573.6426 | 4.2449 | plastic | sample | no | good
WT-BC-700 | 3 | MB | WT | biogreen | 700 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.103 | 49.998 | 0.283 | 1.5238 | 23532.1568 | 15443.5113 | 4.1887 | plastic | sample | no | good
WT-BC-700 | 1 | RB | WT | biogreen | 700 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.098 | 50.012 | 1.753 | 42.9695 | 3586.9714 | 83.4771 | 1.9216 | glass | sample | yes | good
WT-BC-700 | 2 | RB | WT | biogreen | 700 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.101 | 49.998 | 1.754 | 42.994 | 3468.2931 | 80.6691 | 1.9067 | glass | sample | yes | good
WT-BC-700 | 3 | RB | WT | biogreen | 700 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.1 | 50.032 | 1.742 | 42.6999 | 3650.048 | 85.4814 | 1.9319 | glass | sample | yes | good
WT-BC-800 | 1 | MB | WT | biogreen | 800 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.102 | 50.023 | 0.048 | 0.25845 | 24383.1145 | 94344.9571 | 4.9747 | plastic | sample | no | good
WT-BC-800 | 2 | MB | WT | biogreen | 800 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.101 | 50.026 | 0.094 | 0.50612 | 24501.9187 | 48410.8816 | 4.6849 | plastic | sample | no | good
WT-BC-800 | 3 | MB | WT | biogreen | 800 | 20 | 2022-10-17 | 2022-10-25 | 10 | 0.102 | 49.991 | 0.063 | 0.33921 | 24343.5241 | 71765.1587 | 4.8559 | plastic | sample | no | good
WT-BC-800 | 1 | RB | WT | biogreen | 800 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.102 | 49.986 | 1.506 | 36.9151 | 6414.1804 | 173.7551 | 2.2399 | glass | sample | yes | good
WT-BC-800 | 2 | RB | WT | biogreen | 800 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.099 | 50.01 | 1.506 | 36.9151 | 6608.5495 | 179.0204 | 2.2529 | glass | sample | yes | good
WT-BC-800 | 3 | RB | WT | biogreen | 800 | 20 | 2022-09-27 | 2022-10-05 | 50 | 0.102 | 50.008 | 1.496 | 36.67 | 6534.3373 | 178.1932 | 2.2509 | glass | sample | yes | good
CB-MAP | 1 | MB | CB | MAP |  |  | 2022-10-17 | 2022-10-25 | 10 | 0.099 | 49.999 | 0.084 | 0.45228 | 25024.1004 | 55328.6327 | 4.7429 | plastic | sample | no | good
CB-MAP | 2 | MB | CB | MAP |  |  | 2022-10-17 | 2022-10-25 | 10 | 0.103 | 50.013 | 0.089 | 0.4792 | 24039.222 | 50165.0387 | 4.7004 | plastic | sample | no | good
CB-MAP | 3 | MB | CB | MAP |  |  | 2022-10-17 | 2022-10-25 | 10 | 0.101 | 49.984 | 0.091 | 0.48997 | 24509.9152 | 50023.165 | 4.6992 | plastic | sample | no | good
CB-MAP | 1 | RB | CB | MAP |  |  | 2022-09-27 | 2022-10-05 | 50 | 0.1 | 49.999 | 1.901 | 46.5973 | 1701.344 | 36.5116 | 1.5624 | glass | sample | yes | good
CB-MAP | 2 | RB | CB | MAP |  |  | 2022-09-27 | 2022-10-05 | 50 | 0.101 | 50.012 | 1.89 | 46.3277 | 1817.9802 | 39.2418 | 1.5937 | glass | sample | yes | good
CB-MAP | 3 | RB | CB | MAP |  |  | 2022-09-27 | 2022-10-05 | 50 | 0.1 | 50.01 | 1.871 | 45.862 | 2069.024 | 45.1142 | 1.6543 | glass | sample | yes | good
DSL-MAP | 1 | MB | DSL | MAP |  |  | 2022-10-17 | 2022-10-25 | 10 | 0.1 | 50.022 | 0.109 | 0.58689 | 24706.5556 | 42097.5147 | 4.6243 | plastic | sample | no | good
DSL-MAP | 2 | MB | DSL | MAP |  |  | 2022-10-17 | 2022-10-25 | 10 | 0.099 | 49.991 | 0.034 | 0.18307 | 25160.0676 | 137436.9904 | 5.1381 | plastic | sample | no | good
DSL-MAP | 3 | MB | DSL | MAP |  |  | 2022-10-17 | 2022-10-25 | 10 | 0.103 | 50.025 | 0.087 | 0.46843 | 24044.4495 | 51329.4174 | 4.7104 | plastic | sample | no | good
DSL-MAP | 1 | RB | DSL | MAP |  |  | 2022-09-27 | 2022-10-05 | 50 | 0.098 | 50 | 1.109 | 27.1838 | 11640.9143 | 428.2297 | 2.6317 | glass | sample | yes | good
DSL-MAP | 2 | RB | DSL | MAP |  |  | 2022-09-27 | 2022-10-05 | 50 | 0.099 | 50.035 | 1.075 | 26.3504 | 11944.2424 | 453.2851 | 2.6564 | glass | sample | yes | good
DSL-MAP | 3 | RB | DSL | MAP |  |  | 2022-09-27 | 2022-10-05 | 50 | 0.101 | 50.022 | 1.076 | 26.3749 | 11695.5881 | 443.4361 | 2.6468 | glass | sample | yes | good
GW-MAP | 1 | MB | GW | MAP |  |  | 2022-10-17 | 2022-10-25 | 10 | 0.102 | 50.014 | 0.625 | 3.3652 | 22860.2022 | 6793.1437 | 3.8321 | plastic | sample | no | good
GW-MAP | 2 | MB | GW | MAP |  |  | 2022-10-17 | 2022-10-25 | 10 | 0.102 | 50.021 | 0.696 | 3.7475 | 22672.8075 | 6050.1593 | 3.7818 | plastic | sample | no | good
GW-MAP | 3 | MB | GW | MAP |  |  | 2022-10-17 | 2022-10-25 | 10 | 0.101 | 50.021 | 0.7 | 3.769 | 22886.6287 | 6072.3184 | 3.7834 | plastic | sample | no | good
GW-MAP | 1 | RB | GW | MAP |  |  | 2022-09-27 | 2022-10-05 | 50 | 0.102 | 49.998 | 1.898 | 46.5238 | 1704.0314 | 36.6271 | 1.5638 | glass | sample | yes | good
GW-MAP | 2 | RB | GW | MAP |  |  | 2022-09-27 | 2022-10-05 | 50 | 0.099 | 50.013 | 1.891 | 46.3522 | 1842.3273 | 39.7463 | 1.5993 | glass | sample | yes | good
GW-MAP | 3 | RB | GW | MAP |  |  | 2022-09-27 | 2022-10-05 | 50 | 0.102 | 50.027 | 1.887 | 46.2541 | 1836.2039 | 39.6981 | 1.5988 | glass | sample | yes | good
WT-MAP-A | 1 | MB | WT | MAP |  |  | 2022-10-17 | 2022-10-25 | 10 | 0.1 | 50.012 | 0.605 | 3.2575 | 23371.2493 | 7174.5935 | 3.8558 | plastic | sample | no | good
WT-MAP-A | 2 | MB | WT | MAP |  |  | 2022-10-17 | 2022-10-25 | 10 | 0.101 | 50 | 0.556 | 2.9937 | 23270.46 | 7773.2194 | 3.8906 | plastic | sample | no | good
WT-MAP-A | 3 | MB | WT | MAP |  |  | 2022-10-17 | 2022-10-25 | 10 | 0.101 | 49.997 | 0.582 | 3.1337 | 23201.1571 | 7403.8466 | 3.8695 | plastic | sample | no | good
WT-MAP-A | 1 | RB | WT | MAP |  |  | 2022-09-27 | 2022-10-05 | 50 | 0.101 | 50.002 | 1.852 | 45.3962 | 2279.097 | 50.2046 | 1.7007 | glass | sample | yes | good
WT-MAP-A | 2 | RB | WT | MAP |  |  | 2022-09-27 | 2022-10-05 | 50 | 0.1 | 50.011 | 1.871 | 45.862 | 2069.024 | 45.1142 | 1.6543 | glass | sample | yes | good
WT-MAP-A | 3 | RB | WT | MAP |  |  | 2022-09-27 | 2022-10-05 | 50 | 0.1 | 50.016 | 1.836 | 45.004 | 2497.984 | 55.5058 | 1.7443 | glass | sample | yes | good
cal-0,125 | 1 | MB |  |  |  |  | 2022-10-26 | 2022-10-26 | 0.125 |  |  | 0.029 | 0.15614 |  |  |  | plastic | calibration | no | good
cal-0,125 | 2 | MB |  |  |  |  | 2022-10-26 | 2022-10-26 | 0.125 |  |  | 0.025 | 0.13461 |  |  |  | plastic | calibration | no | good
cal-0,125 | 3 | MB |  |  |  |  | 2022-10-26 | 2022-10-26 | 0.125 |  |  | 0.027 | 0.14538 |  |  |  | plastic | calibration | no | good
cal-0,25 | 1 | MB |  |  |  |  | 2022-10-26 | 2022-10-26 | 0.25 |  |  | 0.038 | 0.2046 |  |  |  | plastic | calibration | no | good
cal-0,25 | 2 | MB |  |  |  |  | 2022-10-26 | 2022-10-26 | 0.25 |  |  | 0.035 | 0.18845 |  |  |  | plastic | calibration | no | good
cal-0,25 | 3 | MB |  |  |  |  | 2022-10-26 | 2022-10-26 | 0.25 |  |  | 0.036 | 0.19383 |  |  |  | plastic | calibration | no | good
cal-0,5 | 1 | MB |  |  |  |  | 2022-10-25 | 2022-10-25 | 0.5 |  |  | 0.117 |  |  |  |  | glass | calibration | yes | don't use
cal-0,5 | 1 | MB |  |  |  |  | 2022-10-26 | 2022-10-26 | 0.5 |  |  | 0.109 | 0.58689 |  |  |  | plastic | calibration | no | good
cal-0,5 | 1 | RB |  |  |  |  | 2022-10-26 | 2022-10-26 | 0.5 |  |  | 0.022 |  |  |  |  | plastic | calibration | no | standard stored in fridge
cal-0,5 | 1 | RB |  |  |  |  | 2022-10-26 | 2022-11-04 | 0.5 |  |  | 0.024 |  |  |  |  | plastic | calibration | no | standard stored in fridge, not representative for samples
cal-0,5 | 1 | RB |  |  |  |  | 2022-10-26 | 2022-11-04 | 0.5 |  |  | 0.025 |  |  |  |  | plastic | calibration | no | standard stored in fridge, not representative for samples
cal-0,5 | 2 | RB |  |  |  |  | 2022-10-26 | 2022-10-26 | 0.5 |  |  | 0.022 |  |  |  |  | plastic | calibration | no | standard stored in fridge
cal-0,5 | 3 | RB |  |  |  |  | 2022-10-26 | 2022-10-26 | 0.5 |  |  | 0.023 |  |  |  |  | plastic | calibration | no | standard stored in fridge
cal-1 | 1 | RB |  |  |  |  | 2022-10-26 | 2022-10-26 | 1 |  |  | 0.048 |  |  |  |  | plastic | calibration | no | standard stored in fridge
cal-1 | 1 | RB |  |  |  |  | 2022-10-26 | 2022-11-04 | 1 |  |  | 0.054 |  |  |  |  | plastic | calibration | no | standard stored in fridge, not representative for samples
cal-10 | 1 | MB |  |  |  |  | 2022-10-25 | 2022-10-25 | 10 |  |  | 2.12 |  |  |  |  | glass | calibration | yes | don't use
cal-10 | 1 | MB |  |  |  |  | 2022-10-26 | 2022-10-26 | 10 |  |  | 1.774 | 9.5517 |  |  |  | plastic | calibration | no | good
cal-15 | 1 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 15 |  |  | 0.671 | 16.4476 |  |  |  | glass | calibration | yes | good
cal-15 | 1 | RB |  |  |  |  | 2022-10-26 | 2022-10-26 | 15 |  |  | 0.897 |  |  |  |  | plastic | calibration | no | standard stored in fridge
cal-15 | 1 | RB |  |  |  |  | 2022-10-26 | 2022-11-04 | 15 |  |  | 0.909 |  |  |  |  | plastic | calibration | no | standard stored in fridge, not representative for samples
cal-2,5 | 1 | MB |  |  |  |  | 2022-10-25 | 2022-10-25 | 2.5 |  |  | 0.609 |  |  |  |  | glass | calibration | yes | don't use
cal-2,5 | 1 | MB |  |  |  |  | 2022-10-26 | 2022-10-26 | 2.5 |  |  | 0.494 | 2.6598 |  |  |  | plastic | calibration | no | good
cal-25 | 1 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 25 |  |  | 1.065 | 26.1053 |  |  |  | glass | calibration | yes | good
cal-25 | 1 | RB |  |  |  |  | 2022-10-26 | 2022-10-26 | 25 |  |  | 1.422 |  |  |  |  | plastic | calibration | no | standard stored in fridge
cal-25 | 1 | RB |  |  |  |  | 2022-10-26 | 2022-11-04 | 25 |  |  | 1.485 |  |  |  |  | plastic | calibration | no | standard stored in fridge, not representative for samples
cal-25 | 2 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 25 |  |  | 1.062 | 26.0317 |  |  |  | glass | calibration | yes | good
cal-25 | 2 | RB |  |  |  |  | 2022-10-26 | 2022-10-26 | 25 |  |  | 1.461 |  |  |  |  | plastic | calibration | no | standard stored in fridge
cal-25 | 2 | RB |  |  |  |  | 2022-10-26 | 2022-11-04 | 25 |  |  | 1.42 |  |  |  |  | plastic | calibration | no | standard stored in fridge, not representative for samples
cal-25 | 3 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 25 |  |  | 1.064 | 26.0808 |  |  |  | glass | calibration | yes | good
cal-25 | 3 | RB |  |  |  |  | 2022-10-26 | 2022-10-26 | 25 |  |  | 1.463 |  |  |  |  | plastic | calibration | no | standard stored in fridge
cal-25 | 3 | RB |  |  |  |  | 2022-10-26 | 2022-11-04 | 25 |  |  | 1.475 |  |  |  |  | plastic | calibration | no | standard stored in fridge, not representative for samples
cal-35 | 1 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 35 |  |  | 1.482 | 36.3268 |  |  |  | glass | calibration | yes | good
cal-35 | 1 | RB |  |  |  |  | 2022-10-26 | 2022-10-26 | 35 |  |  | 1.996 |  |  |  |  | plastic | calibration | no | standard stored in fridge
cal-35 | 1 | RB |  |  |  |  | 2022-10-26 | 2022-11-04 | 35 |  |  | 2.041 |  |  |  |  | plastic | calibration | no | standard stored in fridge, not representative for samples
cal-5 | 1 | MB |  |  |  |  | 2022-10-25 | 2022-10-25 | 5 |  |  | 1.237 |  |  |  |  | glass | calibration | yes | don't use
cal-5 | 1 | MB |  |  |  |  | 2022-10-26 | 2022-10-26 | 5 |  |  | 0.959 | 5.1635 |  |  |  | plastic | calibration | no | good
cal-5 | 2 | MB |  |  |  |  | 2022-10-25 | 2022-10-25 | 5 |  |  | 1.248 |  |  |  |  | glass | calibration | yes | don't use
cal-5 | 2 | MB |  |  |  |  | 2022-10-26 | 2022-10-26 | 5 |  |  | 0.974 | 5.2443 |  |  |  | plastic | calibration | no | good
cal-5 | 3 | MB |  |  |  |  | 2022-10-25 | 2022-10-25 | 5 |  |  | 1.096 |  |  |  |  | glass | calibration | yes | don't use
cal-5 | 3 | MB |  |  |  |  | 2022-10-26 | 2022-10-26 | 5 |  |  | 0.947 | 5.0989 |  |  |  | plastic | calibration | no | good
cal-5 | 1 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 5 |  |  | 0.21 | 5.1475 |  |  |  | glass | calibration | yes | good
cal-5 | 1 | RB |  |  |  |  | 2022-10-26 | 2022-10-26 | 5 |  |  | 0.295 |  |  |  |  | plastic | calibration | no | standard stored in fridge
cal-5 | 1 | RB |  |  |  |  | 2022-10-26 | 2022-11-04 | 5 |  |  | 0.301 |  |  |  |  | plastic | calibration | no | standard stored in fridge, not representative for samples
cal-50 | 1 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 50 |  |  | 2.087 | 51.1565 |  |  |  | glass | calibration | yes | good
cal-50 | 1 | RB |  |  |  |  | 2022-10-26 | 2022-10-26 | 50 |  |  | 2.593 |  |  |  |  | plastic | calibration | no | standard stored in fridge
cal-50 | 1 | RB |  |  |  |  | 2022-10-26 | 2022-11-04 | 50 |  |  | 2.592 |  |  |  |  | plastic | calibration | no | standard stored in fridge, not representative for samples
cal-50 | 2 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 50 |  |  | 1.942 | 47.6023 |  |  |  | glass | calibration | yes | good
cal-50 | 3 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 50 |  |  | 1.953 | 47.8719 |  |  |  | glass | calibration | yes | good
cal-7,5 | 1 | MB |  |  |  |  | 2022-10-25 | 2022-10-25 | 7.5 |  |  | 1.727 |  |  |  |  | glass | calibration | yes | don't use
cal-7,5 | 1 | MB |  |  |  |  | 2022-10-26 | 2022-10-26 | 7.5 |  |  | 1.422 | 7.6565 |  |  |  | plastic | calibration | no | good
Control | 1 | MB |  |  |  |  | 2022-10-17 | 2022-10-25 | 10 |  |  | 1.723 | 9.2771 |  |  |  | plastic | sample | no | good
Control | 2 | MB |  |  |  |  | 2022-10-17 | 2022-10-25 | 10 |  |  | 1.92 | 10.3379 |  |  |  | plastic | sample | no | good
Control | 3 | MB |  |  |  |  | 2022-10-17 | 2022-10-25 | 10 |  |  | 1.926 | 10.3702 |  |  |  | plastic | sample | no | good
Control | 1 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 50 |  |  | 1.953 | 47.8719 |  |  |  | glass | control | yes | good
Control | 1 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 50 |  |  | 2.002 | 49.073 |  |  |  | glass | control | yes | good
Control | 1 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 50 |  |  | 1.953 | 47.8719 |  |  |  | glass | sample | yes | good
Control | 1 | RB |  |  |  |  | 2022-09-27 | 2022-10-25 | 50 |  |  | 2.002 | 49.6376 |  |  |  | glass | control | no | good
Control | 1 | RB |  |  |  |  | 2022-09-27 | 2022-10-26 | 50 |  |  | 1.674 |  |  |  |  | plastic | control | no | stored on warm floor overnight
Control | 1 | RB |  |  |  |  | 2022-09-27 | 2022-11-04 | 25 |  |  | 0.818 |  |  |  |  | plastic | control | no | cooled aftger being warmed on floor, diluted one time
Control | 1 | RB |  |  |  |  | 2022-09-27 | 2022-11-04 | 50 |  |  | 1.585 |  |  |  |  | plastic | control | no | cooled after being warmed on floor
Control | 1 | RB |  |  |  |  | 2022-09-27 | 2022-11-07 | 50 |  |  | 2.533 |  |  |  |  | plastic | control | yes | standard stored in fridge, not representative for samples
Control | 1 | RB |  |  |  |  | 2022-09-27 | 2022-11-07 | 50 |  |  | 2.554 |  |  |  |  | plastic | control | no | standard stored in fridge, not representative for samples
Control | 1 | RB |  |  |  |  | 2022-09-27 | 2022-11-07 | 25 |  |  | 1.054 |  |  |  |  | plastic | control | yes | standard stored in fridge, not representative for samples
Control | 1 | RB |  |  |  |  | 2022-09-27 | 2022-11-07 | 25 |  |  | 1.126 |  |  |  |  | plastic | control | no | standard stored in fridge, not representative for samples
Control | 2 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 50 |  |  | 1.98 | 48.5338 |  |  |  | glass | control | yes | good
Control | 2 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 50 |  |  | 1.967 | 48.2151 |  |  |  | glass | control | yes | good
Control | 2 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 50 |  |  | 1.98 | 48.5338 |  |  |  | glass | sample | yes | good
Control | 2 | RB |  |  |  |  | 2022-09-27 | 2022-10-25 | 50 |  |  | 1.967 | 48.7698 |  |  |  | glass | control | no | good
Control | 2 | RB |  |  |  |  | 2022-09-27 | 2022-10-26 | 50 |  |  | 1.623 |  |  |  |  | plastic | control | no | stored on warm floor overnight
Control | 2 | RB |  |  |  |  | 2022-09-27 | 2022-11-04 | 25 |  |  | 0.821 |  |  |  |  | plastic | control | no | cooled aftger being warmed on floor, diluted one time
Control | 2 | RB |  |  |  |  | 2022-09-27 | 2022-11-04 | 50 |  |  | 1.521 |  |  |  |  | plastic | control | no | cooled after being warmed on floor
Control | 2 | RB |  |  |  |  | 2022-09-27 | 2022-11-07 | 50 |  |  | 2.532 |  |  |  |  | plastic | control | yes | standard stored in fridge, not representative for samples
Control | 2 | RB |  |  |  |  | 2022-09-27 | 2022-11-07 | 50 |  |  | 2.535 |  |  |  |  | plastic | control | no | standard stored in fridge, not representative for samples
Control | 2 | RB |  |  |  |  | 2022-09-27 | 2022-11-07 | 25 |  |  | 1.081 |  |  |  |  | plastic | control | yes | standard stored in fridge, not representative for samples
Control | 2 | RB |  |  |  |  | 2022-09-27 | 2022-11-07 | 25 |  |  | 1.105 |  |  |  |  | plastic | control | no | standard stored in fridge, not representative for samples
Control | 3 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 50 |  |  | 1.983 | 48.6073 |  |  |  | glass | control | yes | good
Control | 3 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 50 |  |  | 1.977 | 48.4602 |  |  |  | glass | control | yes | good
Control | 3 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 50 |  | 50.006 | 1.983 | 48.6073 |  |  |  | glass | sample | yes | good
Control | 3 | RB |  |  |  |  | 2022-09-27 | 2022-10-25 | 50 |  |  | 1.977 | 49.0177 |  |  |  | glass | control | no | good
Control | 3 | RB |  |  |  |  | 2022-09-27 | 2022-10-26 | 50 |  |  | 1.632 |  |  |  |  | plastic | control | no | stored on warm floor overnight
Control | 3 | RB |  |  |  |  | 2022-09-27 | 2022-11-04 | 25 |  |  | 0.848 |  |  |  |  | plastic | control | no | cooled aftger being warmed on floor, diluted one time
Control | 3 | RB |  |  |  |  | 2022-09-27 | 2022-11-04 | 50 |  |  | 1.552 |  |  |  |  | plastic | control | no | cooled after being warmed on floor
Control | 3 | RB |  |  |  |  | 2022-09-27 | 2022-11-07 | 50 |  |  | 2.501 |  |  |  |  | plastic | control | yes | standard stored in fridge, not representative for samples
Control | 3 | RB |  |  |  |  | 2022-09-27 | 2022-11-07 | 50 |  |  | 2.486 |  |  |  |  | plastic | control | no | standard stored in fridge, not representative for samples
Control | 3 | RB |  |  |  |  | 2022-09-27 | 2022-11-07 | 25 |  |  | 1.118 |  |  |  |  | plastic | control | yes | standard stored in fridge, not representative for samples
Control | 3 | RB |  |  |  |  | 2022-09-27 | 2022-11-07 | 25 |  |  | 1.076 |  |  |  |  | plastic | control | no | standard stored in fridge, not representative for samples
Standard | 1 | RB |  |  |  |  | 2022-09-27 | 2022-09-27 | 50 |  |  | 2.036 | 49.9064 |  |  |  | glass | standard | yes | good
Standard | 1 | RB |  |  |  |  | 2022-09-26 | 2022-09-27 | 50 |  |  | 2.036 | 49.9064 |  |  |  | glass | standard | yes | good
Standard | 1 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 50 |  |  | 2.087 | 51.1565 |  |  |  | glass | standard | yes | good
Standard | 1 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 50 |  |  | 2.087 | 51.1565 |  |  |  | glass | sample | yes | good
Standard | 2 | RB |  |  |  |  | 2022-09-27 | 2022-09-27 | 50 |  |  | 2.026 | 49.6613 |  |  |  | glass | standard | yes | good
Standard | 2 | RB |  |  |  |  | 2022-09-26 | 2022-09-27 | 50 |  |  | 2.026 | 49.6613 |  |  |  | glass | standard | yes | good
Standard | 2 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 50 |  |  | 1.942 | 47.6023 |  |  |  | glass | standard | yes | good
Standard | 2 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 50 |  |  | 1.942 | 47.6023 |  |  |  | glass | sample | yes | good
Standard | 3 | RB |  |  |  |  | 2022-09-27 | 2022-09-27 | 50 |  |  | 2.02 | 49.5142 |  |  |  | glass | standard | yes | good
Standard | 3 | RB |  |  |  |  | 2022-09-26 | 2022-09-27 | 50 |  |  | 2.02 | 49.5142 |  |  |  | glass | standard | yes | good
Standard | 3 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 50 |  |  | 1.943 | 47.6268 |  |  |  | glass | standard | yes | good
Standard | 3 | RB |  |  |  |  | 2022-09-27 | 2022-10-05 | 50 |  |  | 1.943 | 47.6268 |  |  |  | glass | sample | yes | good